Texas General Land Office

Development Inspection Checklist

| Inspection Date: |  |  | Inspector Name: |  |  |
| --- | --- | --- | --- | --- | --- |

| A. GENERAL INFORMATION |
| --- |
| Development Information | Owner Information |
| Devel. Name: |  |  | Owner Entity: |  |  |
| File #: |  | CMTS: |  |  | Owner Contact: |  |  |
| Devel. Address: |  |  | Owner Address: |  |  |
| City / Zip Code: |  |  | City/State/Zip: |  |  |
| Site Contact |  |  | Site Contact ph #: |  |  |
| B. PROGRAM / INSPECTION TYPE |
| Single Fam. |  | CDBG Disaster Recovery | Other |  |
| Multifamily |  |  |  |  |
| Plan Review |  |  |  |  |  |
| Mid Inspection |  | # |  | # |  |
| Final Inspection |  |  |  |  |  |
| C. DEVELOPMENT INFORMATION |
| New construction: |  | Development acreage |  | 2-Plex: |  | Completion of construction %: |  |
| Rehabilitation: |  | Some 2-story townhouses* |  | 3-Plex: |  | Number of residence buildings: |  |
| Date of original | (rehab) | Elderly only: |  | 4-Plex: |  | Maximum number of floors: |  |
| construction: |  | SRO: |  | 5-Plus: |  | Number of elevator buildings: |  |
| D. UNIT INFORMATION |
| Unit Type (bdrm./bthrm.) | Unit Type Totals | Area Per Unit Type | Department Use (committed) |
| (each floor plan type) | (#of units of each floor plan type) | (net rentable area sq. ft.) | Type | Total # | Area |
|  |  |  |  |  |  |  |  |  |  |  |  | Y | N | Y | N | Y | N |
|  | Department Use |  |  |  |  |  |  |  | Accessible units distributed among types: |
| Total # accessible units | Accessible units: (Bed/Bath Type – Unit #’s) e.g.(1/1–#2, 6, 9) (2/1–#4, 24) (3/2–#25) | Yes |  |
|  |  |  |  | No |  |
| Mobility |  |  |  |  | 5% rounded up |
| Accessible: |  |  |  |  |  |
| Sight/Hearing: |  |  |  |  | 2% rounded up |
| (separate fr. mobility) |  |  |  |  |  |

| E. Threshold Criteria & Amenities – Unit Interiors |
| --- |
| Inspector: Take full-room photos of kitchen/bath/amenities | Item Installed | Inspector Comments Note any owner info discrepancies | Inspect. Verified | Dept. Use committed |
| Owner: YES if installed; INC if not yet; NO if it will not be | YES | INC | NO | Note unit type if any unique answer per item |  |
| Safety/Security |  |  |
| 2 Lock devices ext doors/1 keyless deadbolt or equivalent |  |  |  |  |  |  | Required |
| Exterior security lighting (parking lots and at stairways) |  |  |  |  |  |  | Required |
| Fire sprinklers in all units |  |  |  |  |  |  |  |
| Smoke alarms |  |  |  |  |  |  | Required |
| Flooring (estimate percent) (any difference between stories?) |  |  |
| Carpeting |  |  | % |  |  |  |  |
| Ceramic tile Entry Kitchen Bathroom |  |  | % |  |  |  |  |
| Vinyl flooring |  |  | % |  |  |  |  |
| Kitchen |  |  |
| Counter tops laminated |  |  |  |  |  |  |  |
| Counter tops tile, cultured marble, or granite |  |  |  |  |  |  |  |
| Dishwasher |  |  |  |  |  |  |  |
| Dishwasher Energy Star (see logo, manual, or note model #) |  |  |  |  |  |  |  |
| Faucet-low flow / L-flow aerators OK in rehab (note gpm) |  |  |  |  |  |  |  |
| Garbage disposal |  |  |  |  |  |  |  |
| Microwave oven |  |  |  |  |  |  |  |
| Oven/range |  |  |  |  |  |  |  |
| Oven self-cleaning |  |  |  |  |  |  |  |
| Oven/range hood/fan |  |  |  |  |  |  |  |
| Oven/range hood/fan Energy Star exhaust outside |  |  |  |  |  |  |  |
| Refrigerator |  |  |  |  |  |  |  |
| Refrigerator w/ice maker |  |  |  |  |  |  |  |
| Refrigerator Energy Star (see logo, manual or note model#) |  |  |  |  |  |  |  |
| Bath |  |  |
| Commode - high efficient (note gallons per flush gpf) |  |  |  |  |  |  |  |
| Counter tops laminated |  |  |  |  |  |  |  |
| Counter tops tile, cultured marble, or granite |  |  |  |  |  |  |  |
| Exhaust fan vent to outside |  |  |  |  |  |  |  |
| Exhaust/fan Energy Star outside (logo, manual, or model#) |  |  |  |  |  |  |  |
| Faucet - low flow 2 gpm / L-flow aerators OK in rehab. |  |  |  |  |  |  |  |
| Shower low flow 2 gpm / L-flow aerators OK in rehab. |  |  |  |  |  |  |  |
| Tile tub/shower |  |  |  |  |  |  |  |
| Miscellaneous Features |  |  |
| Ceiling fixtures all rooms, light+fan in living & bedroom |  |  |  |  |  |  |  |
| Ceiling fixtures E-Star in ea. room see logo, manual or # |  |  |  |  |  |  |  |
| Ceiling fans in living areas and all bedrooms |  |  |  |  |  |  |  |
| Ceiling fan E-Star living & bedrooms see logo,manual, # |  |  |  |  |  |  |  |
| Covered entries |  |  |  |  |  |  |  |
| Covered patios or covered balconies |  |  |  |  |  |  |  |
| Evaporative cooling |  |  |  |  |  |  |  |
| HVAC indicate SEER/rating |  |  |  |  |  |  |  |
| Laundry connections in all units |  |  |  |  |  |  |  |
| Laundry equipment all units (front-loading in mobility unit) |  |  |  |  |  |  |  |
| Monitored unit security (monitored at central location) |  |  |  |  |  |  |  |
| Network for phone w/Cat 5e or better wiring (ask rep.) |  |  |  |  |  |  |  |
| Network for data w/Cat 5e or better wiring (ask rep.) |  |  |  |  |  |  |  |
| Network for TV w/COAX cable (ask rep.) |  |  |  |  |  |  |  |
| Nine foot ceilings living room & bedrooms (every story) |  |  |  |  |  |  |  |
| R-15 wall systems and R-30 ceiling insulation (ask rep.) |  |  |  |  |  |  |  |
| Radiant barriers in attic (rehab. only / ask property rep.) |  |  |  |  |  |  |  |
| Storage ≥9 sq/ft on property (not bedroom, entry or linen) |  |  |  |  |  |  |  |
| Water heaters for each unit |  |  |  |  |  |  |  |
| Water heater - tankless, or tank w/ impervious flooring |  |  |  |  |  |  |  |
| Window coverings on all windows |  |  |  |  |  |  |  |

| F. Threshold Criteria & Amenities – Common Use Facilities |
| --- |
| Inspector: Take full-room photos of kitchen/bath/amenities | Item Installed | Inspector Comments | Inspect. Verified | Dept. Use committed |
| Owner: YES if installed; INC if not yet; NO if it will not be | YES | INC | NO | Note any owner info discrepancies |  |  |
| Exterior Walls (estimate % of coverage) |  |  |
| 100% Masonry (stucco, Hardi-, brick, mortarless conc. siding) |  |  |  |  |  |  |  |
| 75+% Masonry (stucco, Hardi, brick, mortarless conc. siding) |  |  |  |  |  |  |  |
| Brick and/or stone veneer |  |  | % |  |  |  |  |
| Energy efficient wall system (i.e. SIP w/ min. R-20) |  |  | % |  |  |  |  |
| Hardiboard or Hardiplank siding (fiber cement) |  |  | % |  |  |  |  |
| Plywood/composite hardboard |  |  | % |  |  |  |  |
| Stucco |  |  | % |  |  |  |  |
| Synthetic stucco (EIFS/ hollow thump, deflects if pressed) |  |  | % |  |  |  |  |
| Vinyl, aluminum, or wood siding |  |  | % |  |  |  |  |
| Common Amenities (1 of each amenity type is accessible) |  |  |
| Accessible walking/jogging path separate from sidewalk |  |  |  |  |  |  |  |
| BBQ / picnic table sets | # grills | # tables |  |  |  |  |  |  |  |
| Car wash area (accessible-sized area, water provided) |  |  |  |  |  |  |  |
| Children’s activity center (daycare, note business hours) |  |  |  |  |  |  |  |
| Commercial kitchen (community meals) |  |  |  |  |  |  |  |
| Community dining room w/ warming kitchen tenant use |  |  |  |  |  |  |  |
| Community garden (partly accessible, water provided) |  |  |  |  |  |  |  |
| Community room (furnished) |  |  |  |  |  |  |  |
| Community theater<52”screen/surround sound/DVD/seating |  |  |  |  |  |  |  |
| Controlled access gate(s) (vehicles & wheelchairs) |  |  |  |  |  |  |  |
| Covered pavilion min. 1 BBQ grill/table set (arbor OK) |  |  |  |  |  |  |  |
| Elevator(s) | indicate # |  |  |  |  |  |  |  |
| Enclosed sun porch or covered community porch/patio |  |  |  |  |  |  |  |
| Business/computer learning center min. 1 computer/fax |  |  |  |  |  |  |  |
| Business/computer learning center w/min. 1 computer /30 units, min. 1 printer/3 computers, min. 1 fax machine |  |  |  |  |  |  |  |
| Fireplace(s) | site # | # units |  |  |  |  |  |  |  |
| Fitness rm. equipped | Equip.w/ *see list below |  |  |  |  |  |  |  |
| Fencing full perimeter |  |  |  |  |  |  |  |
| Game/recreation room (describe) |  |  |  |  |  |  |  |
| Gazebo with sitting area |  |  |  |  |  |  |  |
| Health screening room |  |  |  |  |  |  |  |
| High speed internet service to all units at no cost |  |  |  |  |  |  |  |
| Horseshoe, putting green, shuffleboard court |  |  |  |  |  |  |  |
| Jacuzzi / Hot tub |  |  |  |  |  |  |  |
| Laundry room for common-use |  |  |  |  |  |  |  |
| Library w/accessible sitting area (not community room) |  |  |  |  |  |  |  |
| Public restroom(s) |  |  |  |  |  |  |  |
| Public phone / 911 / accessible/avail. to tenants 24/7 |  |  |  |  |  |  |  |
| Residential kitchen (for tenant use, all appliances available) |  |  |  |  |  |  |  |
| Secured entry to elevator style bldg (unit entries in bldg.) |  |  |  |  |  |  |  |
| Senior activity room (describe if shared w/ another space) |  |  |  |  |  |  |  |
| Service coordinator office (in addition to leasing office) |  |  |  |  |  |  |  |
| Sport court (tennis, b-ball or v-ball accessible route to edge) |  |  |  |  |  |  |  |
| Swimming pool (accessible route to edge) |  |  |  |  |  |  |  |
| 1 playground equipped (accessible route to edge) |  |  |  |  |  |  |  |
| 1 playscape equipped for 5-12 yr olds, or 1 tot lot |  |  |  |  |  |  |  |
| 2 playscapes equip. for 5-12 yr. olds, 2 tot lots or 1 ea. |  |  |  |  |  |  |  |

* Fitness Center is equipped w/ min. of two of the following fitness equipment pieces, and min. one piece for every 40 living units, to a maximum of five pieces of equipment required:  Stationary bicycle, elliptical trainer, treadmill, rowing machine, universal gym, multi-functional weight bench, sauna, stair climber.

| Parking Spaces | Total # | UFAS Unit Resident # | FHA Unit Resident # | UFAS & FHA resident totals do not include accessible spaces for common-use facilities Spaces are provided for visitor parking Yes: No: |
| --- | --- | --- | --- | --- |
| Uncovered spaces |  |  |  |  |  |  |  |  |  |  |
| Covered (carport) |  |  |  |  |  |  |  |  |  |  |
| Garage Attached |  |  |  |  |  |  |  |  |  |  |
| Garage Detached |  |  |  |  |  |  |  |  |  |  |

| G. Threshold Criteria & Amenities – Green Building |
| --- |
| Inspector: Take photo of one of ea. green building amenity | Item Installed |  | Inspector Comments | Inspect. Verified | Dept. Use committed |
| Owner: YES if installed; INC if not yet; NO if it will not be | YES | INC | NO |  | Note any owner info discrepancies |  |  |
| Miscellaneous Green Building Features |  |  |
| Solar water heaters (serving all units) |  |  |  |  |  |  |  |
| Irrigation & landscaping (describe). Rainwater collection provides 50% of irrigation. Trees, plants for shade, groundcover. |  |  |  |  |  |  |  |
| Submetered electric meters |  |  |  |  |  |  |  |
| Photovoltaic panels (note power output in kilowatts, ask rep) |  |  |  |  |  |  |  |
| Water permeable walkways and parking (min. 20% is porous pavers, crushed granite, open-cell or open-jointed block, etc.) |  |  |  |  |  |  |  |
| Construction waste management for erosion control during construction. Describe methods. |  |  |  |  |  |  |  |
| Healthy building materials. 1) Flooring is bamboo, wool carpet or linoleum; or straw board, poplar OSB, or cotton batt insulation is used; and 2) min. 50% of 1st floors are finished concrete or ceramic tile, and 50% of upper stories floors are ceramic tile and/or material with low VOC emissions (ask representative). |  |  |  |  |  |  |  |

| H. Accessibility – Common Use Facilities |
| --- |
| “No” items must have photos and actual measurements in comments. “Inc.” means incomplete. “N/A” answers require reason why the item is not applicable noted in the comments | Building: |  |  | Building: |  |
| Common Use Passage Doors* on an Accessible Route | Yes | Inc | No | N/A |  | Yes | Inc | No | N/A |
| 2010 ADA and FHA | (1) Combined heights of threshold plus any floor level change are max. ½” for swinging doors, max. ¾” for sliding doors (measured from top of threshold or track to interior floor and exterior landing), are beveled (max. 1:2 slope) if edges over ¼” high. |  |  |  |  |  |  |  |  |  |
| 2010 ADA and FHA | (2) Min. 32” clear opening when door is open 90° (from door face to door stop*). |  |  |  |  |  |  |  |  |  |
| 2010 ADA and FHA 3 | (3) Maneuvering spaces on both sides of doors are clear & level (w/max. 2% slope) w/ min. clearance as illustrated in (Fig. 1). |  |  |  |  |  |  |  |  |  |
| 2010 ADA and FHA 3 | (4) Door handles are operable with a shape easy to grip with one hand w/out tight grasping, pinching, or twisting (e.g. lever operated, push type, and U-shaped handles). |  |  |  |  |  |  |  |  |  |
| 2010 ADA | (5) Pool Gate, Security Gate and Door Kickplates- Swing gates/doors must have smooth kickplate or surface from bottom of door to 10” above door bottom on push side of door. Cavity opening created where kickplate top meets bars must be capped. |  |  |  |  |  |  |  |  |  |
| Reach Range for Wall-Mounted Controls, Outlets in Common Facilities If there are multiple controls/outlets in an area, min. 1 is accessible in each | Building: |  |  | Building: |  |
| 2010 ADA and FHA | (6) Forward reach only is possible, not over an obstruction, outlet, switch, control is in range from 15”- 48” high. |  |  |  |  |  |  |  |  |  |
| 2010 ADA and FHA | (7) Side reach not over obstruction, outlet/switch is in a range from 15”-48” high. |  |  |  |  |  |  |  |  |  |
| 2010 ADA | (8) Forward reach over obstruction has an open knee space and is: a) max. 20” horizontally and max. 48” above floor, or b) max. 25” horizontally and max. 44” high. |  |  |  |  |  |  |  |  |  |
| 2010 ADA | (9) Side reach over a max. 34” high obstruction is max 24” horizontally and max. 46” above floor (Fig. 22). |  |  |  |  |  |  |  |  |  |
| Common Use Kitchen Include all other common use sinks if any (i.e. child care center, arts & crafts room) | #1: |  |  | #2: |  |
| FHA and 2010 ADA | (10) Galley kitchen clearance min. 40” between front of counter, cabinet, appliance and opposing surfaces (from counter edge, not incl. handles). Is pass-through type kitchen, or 36” wide T-shaped turning space is provided (under-counter OK) (Fig. 21). |  |  |  |  |  |  |  |  |  |
| FHAand UFAS | (11) U-Shaped kitchen* has a min. 60” dia. turning circle if a sink, cook-top or range is at base of U (not dish-washer), or min. 40” clearance w/ removable* cabinet or open knee space under the sink or cook-top (Fig. 9). |  |  |  |  |  |  |  |  |  |
| FHA and UFAS | (12) U-Shaped kitchen* has min. 64” clearance between sides of the U if a sink and dishwasher are at the base of U. |  |  |  |  |  |  |  |  |  |
| 2010 ADA and FHA | (13) Accessible sink (section of counter) is min. 30” wide and max. 34” high at rim. |  |  |  |  |  |  |  |  |  |
| 2010 ADA and FHA | (14) Accessible sink faucet is operable w/ one hand, without tight grasping, pinching, twisting of the wrist. |  |  |  |  |  |  |  |  |  |
| 2010 ADA and FHA | (15) Accessible sink depth is max. 6½” (min. one bowl). |  |  |  |  |  |  |  |  |  |
| 2010 ADA and FHA | (16) Clearance below accessible sink is open for knee/leg/toe room min. 30” wide, 27” high, 8” deep at top, 11” deep at 9” above floor, Full deepth & 9” high at toe (Fig 20) |  |  |  |  |  |  |  |  |  |
| 2010 ADA and FHA | (17) Hot water and drain pipes under sink are fully insulated or covered w/ protection panel. There are no sharp or abrasive surfaces. |  |  |  |  |  |  |  |  |  |
| 2010 ADA and FHA | (18) Clear floor space at sink and appliances is min. 30” by 48”. The space is perpendicular at the sink for a forward approach (19” may extend underneath). |  |  |  |  |  |  |  |  |  |
| Accessibility (Common Use Facilities) Comments and Observations |
|  | Item # |  | Actual Measurement |  | Unit # |  |  | Comment “N/A” answer require reason why not applicable |  |

| H (cont’d) Accessibility – Common Use Facilities |
| --- |
| “No” items Must have photos. Give actual measurements in comments. “Inc.” means incomplete. “N/A” answers require note in the Comments describing the reason the item is not applicable | Restroom | # |  | Restroom | # |
| Common Use Restroom Only one of each is needed in multiple-lavatory and multiple-commode restrooms | Yes | Inc | No | N/A |  | Yes | Inc | No | N/A |
| 2010 ADA | (19) Accessible lavatory height is max. 34” at the rim or counter surface. |  |  |  |  |  |  |  |  |  |
| 2010 ADA and FHA | (20) Accessible lavatory faucets, dispensers and operating mechanisms are operable w/ one hand, without tight grasping, pinching, twisting of the wrist (lever operated or push type faucets). |  |  |  |  |  |  |  |  |  |
| 2010 ADA and FHA | (21) Clearance below accessible lavatory is open for knee/leg/toe rm. min. 30” wide, 27” high, 8” deep at top, 11” deep at 9” above floor, Full deepth & 9” high at toe (Fig 20) |  |  |  |  |  |  |  |  |  |
| 2010 ADA and FHA | (22) Hot water & drain pipes under accessible lavatory are fully insulated or covered w/ protection panel. There are no sharp or abrasive surfaces. |  |  |  |  |  |  |  |  |  |
| 2010 ADA and FHA | (23) Accessible lavatory clear floor space is min. 30” by 48”. The space is perpendicular at the lavatory for a forward approach (19” may extend underneath). |  |  |  |  |  |  |  |  |  |
| 2010 ADA and FHA | (24) Mirror height is max. 40” to bottom edge of the reflecting surface (min. one if multiple provided). |  |  |  |  |  |  |  |  |  |
| 2010 ADA and FHA | (25) Commode height is between 17” to 19” measured to the top of the seat. |  |  |  |  |  |  |  |  |  |
| 010 ADA and FHA | (26) Commode is exactly 18” from a corner w/ full length sidewall*, Commodes has full 60” X 56” maneuvering clearance with no vanity overlap See 2010 ADA Diagram Toilet Clear Floor Space. Figure 2 |  |  |  |  |  |  |  |  |  |
| 2010 ADA and FHA | (27) Grab bars are provided around accessible commodes mounted at 33-36” high to bar center; rear bar extends from max. 6” to min. 42” from the corner; side bar extends from max. 12” to min. 54” from the corner. |  |  |  |  |  |  |  |  |  |
| 2010 ADA and FHA | Removed Door Swing Requiremet |  |  |  |  |  |  |  |  |  |
| Common Use Facilities Inspect two if the same type of accessible facility is in more than one location | # 1: |  |  | #2: | ____ |
| 2010 ADA and FHA | (28) Trash disposal facilities provide at least one accessible trash container or trash chute on an accessible route with hardware not requiring tight grasping pinching, or twisting of the wrist; has a horizontal sliding door w/sill height of max. 48”, or a max. 48” lid height (accessible ramp & landing, or specially marked accessible trash container provided if needed). |  |  |  |  |  |  |  |  |  |
| 2010 ADA | (29) Playgrounds- All playgrounds must be accessible and must have route inside the play area that connects all ground and at least some elevated play equipment. |  |  |  |  |  |  |  |  |  |
| 2010 ADA | (30) Swimming Pool Means of Entry- Pool must provide lift or sloped entry to swimming pool. |  |  |  |  |  |  |  |  |  |
| 2010 ADA | (31) Common-use laundry facilities. At least one laundry room provides at least one front-loading washing machine and clothes dryer if there are 3 total and two of each if there are more than Three. |  |  |  |  |  |  |  |  |  |
| 2010 ADA and FHA | (32) Mail boxes Out-going mail slot, parcel locker, rent collection slot, mailbox key lock for each mobility accessible unit, and key locks for a sufficient number of Fair Housing covered units are on an accessible route and meet Reach Range requirements described on the previous page (#5-8 above). |  |  |  |  |  |  |  |  |  |
| Accessibility (Common Use Facilities) Comments and Observations |
|  | Item # |  | Actual Measurement |  | Unit # |  |  | Comments (N/A requires comment) |  |

| I. Accessibility – Route & Parking |
| --- |
| “No” items Must have photos. Give actual measurements in comments. Comment why if N/A. “Inc.” means incomplete. | Yes | Inc | No | N/A | Comments |
| Accessible Route in Dwelling Units, Common-use Facilities, and Site |  |  |  |  |  |
| 2010 ADA and FHA | (33) Route. Min. one accessible route within the boundary of the site is a continuous, safe, and unobstructed path (explain if not safe). Surface is firm, stable, slip resistant material such as pavement, or compact crushed granite. |  |  |  |  |  |
| 2010 ADA and FHA | (34) Amenity access. The accessible route provides access to at least one of each type of amenity and common use space (including dumpster). |  |  |  |  |  |
| 2010 ADA and FHA | (35) Public access. The accessible route provides access to parking lots w/ accessible parking and at least one public street, public sidewalk, and a public transportation stop (when provided). |  |  |  |  |  |
| 2010 ADA and FHA | (36) Dwelling units. The accessible route provides access to at least one accessible entrance at each 2010 ADA and FHA-covered dwelling unit. |  |  |  |  |  |
| 2010 ADA and FHA | (37) Route width. Accessible route has min. 36” clear width (not reduced by vehicle overhang). May reduce to min. 32” by an obstruction if the obstruction is no more than 24” wide (Fig. 10). |  |  |  |  |  |
| 2010 ADA and FHA | (38) Low-headroom and protruding object barrier. Along any walkway, a barrier detectable by a cane is provided directly below the leading edge* of objects protruding more than 4” from a wall (12” from a post) and with bottom of the object between 27” to 80” high (payphones, drinking fountains), and directly below overhead obstructions less than 80” above the walking surface (tree branches, stair structures). Cane detectable barrier is max. 27” high at the bottom or it extends to the walking surface (Fig. 6, 8). |  |  |  |  |  |
| 2010 ADA and FHA | (39) Running slope along an accessible route (in the direction of travel) is no more than 8.33% (1 in 12) at any point along the route (excl. curb ramps). |  |  |  |  |  |
| 2010 ADA and FHA | (40) Cross slope along an accessible route (across the direction of travel) is no more than 2% at any point along the route (excl. curb ramps). |  |  |  |  |  |
| 2010 ADA and FHA | (41) Ramp handrails are provided along the accessible route on both sides of all sections that are sloped more than 5% (ramp), and where the ramp rises over 6 inches or the ramp’s horizontal run is over 6 feet (excl. curb ramps). |  |  |  |  |  |
| 2010 ADA and FHA | (42) Stairs Risers- Stairs for egress must have closed risers. |  |  |  |  |  |
| 2010 ADA and FHA | (43) Stair handrails are on both sides of accessible stairs. |  |  |  |  |  |
| Accessible Parking |  |  |  |  |  |
| 2010 ADA | (44) Number of 2010 ADA parking spaces (if parking is provided for all units) is min. of one for each ADA mobility unit and do not include spaces for FHA covered units (#54 below), or spaces at common-use facilities (#53). |  |  |  |  |  |
| 2010 ADA and FHA | (45) Accessible parking sign w/ the accessibility symbol showing the space is reserved for accessible parking. Sign is high enough not to be obscured by a vehicle parked in the space. |  |  |  |  |  |
| 2010 ADA and FHA | (46) Accessible parking space is min. 96” wide (line center-to-center), is completely level (max. 2% slope) and unobstructed. |  |  |  |  |  |
| 2010 ADA and FHA | (47) Adjacent access aisle is min. 60” wide (line center-to-center); can be shared between 2 adjacent spaces; is completely unobstructed (w/ no built-up ramp, no carport post near doors) and is level (max. 2% slope for drainage). |  |  |  |  |  |
| 2010 ADA and FHA | (48) Access aisle on the accessible route provides access to the route directly off the aisle (w/ curb-ramp as needed) or passes behind only the user’s parking space to provide access to the route on the opposite side. |  |  |  |  |  |
| FHA | (49) Common-use parking. Where there are spaces at amenities (incl. one dumpster), min. one space is accessible. Does not include spaces for ADA mobility units (#48 above), or spaces for FHA covered units (#54). |  |  |  |  |  |
| FHA | (50) Number of FHA-covered resident spaces is min. one accessible space for every 50 FHA units (rounded up) does not include spaces for ADA mobility units (#48 above), or spaces at common-use amenities (#53). |  |  |  |  |  |
| FHA | (51) Parking space types. If the property has different types of parking, (surface, garage, carport) min. one of each type is accessible w/ aisle on route |  |  |  |  |  |
| FHA | (52) FHA-covered unit resident accessible parking location is on the shortest possible accessible route to an accessible entrance to the user’s unit. |  |  |  |  |  |
| J. Single Family Accessibility Standards (SFAS) |
| 2306..514 (1A) | (53) No-step entrance door at front, side, or rear is on an accessible route. |  |  |  |  |  |
| 2306..514 (1B) | (54) Entrance door width is min. 36” (112 above). |  |  |  |  |  |
| 2306..514 (2A) | (55) Passage doors* width is min. 32” on 1st floor unless providing access to a closet of less than 15 square feet in area. |  |  |  |  |  |
| 2306..514 (2B) | (56) Hallway(s) width min. 36”, on 1st floor; level; bevel-edge thresholds. |  |  |  |  |  |
| 2306..514 (2C) | (57) Grab bar blocking is in walls of 1st floor bathrooms. |  |  |  |  |  |
| 2306..514 (3) | (58) Breaker box is max. 48” above floor, on 1st floor, inside the building. |  |  |  |  |  |
| 2306..514 (2D) | (59) Switch height is max. 48” for ea. 1st floor breaker, light, thermostat. |  |  |  |  |  |
| 2306..514 (2E) | (60) Plug height min. 15” for ea. 1st floor outlet or other receptacle. |  |  |  |  |  |

| K. Accessibility – Unit Interiors |
| --- |
| Inspect 3 unit types: 2 for UFAS&FHA, 1 for FHA only | Unit #: |  | Unit #: |  | Unit #: |
| Indicate standard: UFAS = mobility, FHA = Fair Housing Indicate unit type: 0/1, 1/1, 2/1, 3/2, etc. for bed/bath type | Standard: , Bed/bath type: |  | Standard: , Bed/bath type: |  | Standard: , Bed/bath type: |
| “No” items must have photo & comment w/actual measurement Comment w/reason why if N/A. “Inc.” means incomplete. | Yes | Inc | No | N/A |  | Yes | Inc | No | N/A |  | Yes | Inc | No | N/A |
| Dwelling Units |  |  |  |  |  |
| 2010 ADA | (61) Adaptability consumer information* is provided in UFAS mobility and sight & hearing units (page 16) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2010 ADA | (62) Accessible spaces on an access route All spaces except for small pantries, closets, patio closets and unfinished attics and basements must have access. Mobility units must be single story or have a lift. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| FHA-TDHCA | (63) New townhouses* min. 20% of each unit type has an FHA 1st floor w/ a bedroom & bath or powder room. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2010 ADA | (64) Turn Around Clearance in all Spaces of Unit-All accessible spaces required to have T-turn or 60” circle maneuvering space. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2010 ADA | (65) Sight/Sound Units - Hardwired Audible/Visible Door Bell Required in New Construction. Not for rehab. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Dwelling Unit Passage* Doors |  |  |  |  |  |
| 2010 ADA | (66) Combined heights of threshold plus any floor level change are max. ½” for swinging doors, max. ¾” for sliding doors (measured from top of threshold or track to interior floor and exterior landing), are beveled (max. 1:2 slope) if edges are over ¼” high. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2010 ADA | (67) Accessible Route Encroachment by Door Swing-Arc of door swing does not encroach on 36” Accessible Route. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2010 ADA | (68) Min. 32” clear opening at all passage doors* when open 90° (from door face to door stop*). |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2010 ADA | (69) Maneuvering space on both sides of all passage doors* (Fig. 1) are clear & level (w/max. 2% slope). |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2010 ADA and FHA | (70) Door handle at front entry is easy to grip with one hand without tight grasping, pinching, twisting. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| FHA | (71) Thresholds at passage doors* are beveled, max. ¾” high to interior floor & exterior pervious* landing; max. 1¼” high to impervious* front door landing, max. 4¾” to impervious* back door landing (if any) (Fig 5). |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| FHA | (72) Min. 315/8” clear opening at all passage doors* (except front entry) door is open 90° (door face to stop) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| FHA | (73) Min. 32” clear opening at front entry door when door is open 90° (measured door face to door stop*). |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| FHA | (74) Maneuvering space at front entry on exterior side only (Fig. 1) are clear & level (max. 1% slope). |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Reach Range for Wall-Mounted Controls and Outlets If there are multiple outlets in an area, min. 1 must be accessible |  |  |  |  |  |
| 2010 ADA | (75) Forward reach over a max 34” obstruction that has an open knee space and is: a) max. 20” horizontally and max. 48” above the floor; or b) max. 25” horizontally and max. 44” above the floor. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2010 ADA | (76) Side reach over a max. 34” high obstruction is max. 24” horizontally, max 46” above the floor (Fig 22) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| FHA and 2010 ADA | (77) Forward and Side reach not over obstruction: Thermostat including breaker boxes etc. in a range from 15” - 48” above floor. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| FHA and 2010 ADA | (78) Forward reach over an obstruction to an object that has an open knee space and is: a) max. 20” horizontally and max. 48” above floor, or b) max. 25½” horizontally and max. 44” above the floor. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| FHA | (79) Side reach over a max. 36” high obstruction is max. 25½” horizontally and max. 46” above the floor, min 36” to wall where cabinets meet at corner (Fig 12). |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Accessibility (Unit Interior) Comments And Observations |
| Item # | Actual Measurement | Unit # | Comments (“N/A” answers require reason why it’s not applicable) |

| K. (cont’d.) Accessibility – Unit Interiors |
| --- |
| Inspect 3 unit types: 2 for UFAS&FHA, 1 for FHA only | Unit # |  | Unit # |  | Unit # |
| “No” items must have photo & comment w/actual measurement Comment w/reason why if N/A. “Inc.” means incomplete. | Yes | Inc | No | N/A |  | Yes | Inc | No | N/A |  | Yes | Inc | No | N/A |
| Dwelling Unit Kitchens |  |  |  |  |  |
| 2010 ADA | (80) Galley kitchen clearance is min. 40” from front of counter, cabinet and appliance to opposing surface. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2010 ADA | (81) U-shaped kitchen* clearance min. 60” from front of counter, cabinet, appliance / opposing surface. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2010 ADA | (82) Stove controls are located at the front or side. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2010 ADA | (83) Galley Kitchen Must Have Two Entries-or have a room at one end (i.e.) laundry that provides ability to turn around. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2010 ADA | (84) Accessible work surface (section of counter) is next to oven is min. 30” wide, and either fixed at max. 34” high, or is adjustable, or replaceable as an independent unit*. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2010 ADA | (85) Clearance below accessible work surface is min. 27” high. Open or removable* cabinet (Fig 9) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2010 ADA | (86) Accessible sink (section of counter) is min. 30” wide, fixed at max. 34” high, or is adjustable, or replaceable as an independent unit*. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2010 ADA | (87) Kitchen faucet is operable w/ one hand, without tight grasping, pinching, twisting. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2010 ADA | (88) Accessible sink depth max. 6½” (min. 1 bowl). |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2010 ADA | (89) Clearance below accessible sink (not incl. cab. doors) is min. 8” deep at 27” high, 11” deep at 9” high, 17” deep and 9” high at toe (Fig. 20). Open or has a removable* base cabinet (Fig.9). |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2010 ADA | (90) Hot water & drain pipes fully covered w/ insulation, doors or panel. No sharp/abrasive surface. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2010 ADA and FHA | (91) Clear floor space is min. 30” x 48” at ea. fixture and appliance. The space is perpendicular at the sink for a forward approach (19” may extend underneath). |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| FHA | (92) Galley kitchen clearance min. 40” from front of counter, cabinet, appliance to opposing surfaces (measured from counter edge, not including handles) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| FHA | (93) U-Shaped kitchen* min. 60” dia. turning circle if a sink, cook-top or range is at base of U (no dish-washer), or min. 40” clearance w/ removable* cabinet or open knee space below the sink or cook-top (Fig. 9) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| FHA | (94) U-Shaped kitchen* min. 64” clearance between sides of the U if sink & dishwasher is at the base of U. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2010 ADA | (95) Kitchen Storage- 50% of linear feet of shelving must be at an accessible level. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Dwelling Unit Bathrooms UFAS multi-bathrooms: all items apply to the mobility bathroom. FHA multi-baths: items apply to both baths if Spec. A*. If one is a Spec. B*, maneuvering and fixture clearances N/A for 2nd bath. |  |  |  |  |  |
| 2010 ADA | (96) Lavatory height at rim or counter max. 34” high |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2010 ADA | (97) Lavatory / bath faucet is operable w/ one hand, without tight grasping, pinching, twisting. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2010 ADA | (98) Clearance below lavatory (not incl. cab. doors) is min. 8” deep at 27” high, 11” deep at 9” high, 17” deep and 9” high at toe (Fig. 20). Open or has a removable* base cabinet (Fig.9). |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2010 ADA | (99) Hot water & drain pipes fully covered w/ insulation, doors or panel. No sharp/abrasive surface. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2010 ADA | (100) Clear floor space at lavatory is min. 30” wide, 48” long, perpendicular (may extend 19” under lav) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2010 ADA | (101) Bathtub spray head has a min. 60” hose and can be used as fixed showerhead or hand-held. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2010 ADA | (102) Medicine cabinet max. 44” to bottom shelf if directly above and behind the lavatory. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2010 ADA | (103) Mirror max 40” to bottom of reflection surface. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Accessibility (Unit Interior) Comments And Observations |
|  | Item # |  | Actual Measurement |  | Unit # |  |  | Comment “N/A” answer require reason why not applicable |  |

| K. (cont’d.) Accessibility – Unit Interiors |
| --- |
| Inspect 3 unit types: 2 for UFAS&FHA, 1 for FHA only | Unit # |  | Unit # |  | Unit # |
| “No” items must have photo & comment w/actual measurement Comment w/reason why if N/A. “Inc.” means incomplete. | Yes | Inc | No | N/A |  | Yes | Inc | No | N/A |  | Yes | Inc | No | N/A |
| Dwelling Unit Bathrooms (cont’d.) UFAS multi-bathrooms: all items apply to the mobility bathroom FHA multi-baths: items apply to both baths if Spec. A*. If one is a Spec. B*, maneuvering and fixture clearances N/A for 2nd bath. |  |  |  |  |  |
| 2010 ADA | (104) Commode height is 15”-19” above the floor measured to the top of the seat. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2010 ADA | (105) Commode is in corner w/ full length sidewall*, is 16” to 18”” from wall surface to toilet center, min. 18” to wall-hung lavatory or vanity at opposite side. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2010 ADA | (106) G.B. blocking at commode in a corner min. 38” to top, max. 32” to bottom. Rear wall from corner is max. 6” to min. 30”. Sidewall from corner is max 12” to min 54” (Fig. 11). |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2010 ADA | (107) Commode clearance #1 – 60”w x 66”d for front approach or side w/ overlapping lavatory (wall-hung lav. or removable base cabinet) (Fig. 2). N/A if not closest ADA layout. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2010 ADA | Removed- only two approaches allowed now. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2010 ADA and FHA | (108) Commode clearance #3 – 60”w x 56”d for front or side approach w/ no overlapping lav. (back-in parallel to commode) (Fig. 2&3). N/A if not closest ADA or FHA layout. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2010 ADA | Removed door swing requirement |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| FHA | (109) Lavatory clear floor space of 30” x 48” is for: a) a forward approach w/removable* cabinet or open below, or b) a side approach w/centerline of lav. min. 24” from corner for a centered 48” clearance (Fig 7.) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| FHA | (110) Commode not in a corner is min. 18” from toilet center to tub, sink or cabinet at one side of commode and min. 15” at opposite side (Fig. 16). |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| FHA | (111) G.B. blocking at commode not in a corner min. 38” to top, max. 32” to bottom (advise 26” to bottom), extend min. 18” at either side of toilet center (Fig. 16). |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| FHA | (112) Commode in a corner w/ either: (a) full length sidewall* that is exactly 18” to toilet center, min. 15” opposite side; or (b) short sidewall* min. 15” to toilet center, min. 18” opposite side (Fig. 15). |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| FHA | (113) G.B. blocking at commode in a corner min. 38” to top, max. 32” to bottom. Rear wall from corner is max. 6” to min. 30”. Sidewall from corner is max. 12” to min. 24” (Fig. 13, 14). |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| FHA | (114) Commode clearance #1 – 48”w x 66”d for front approach w/ overlapping lavatory (max. 24” deep lav., vanity, or wing wall), (Fig. 3). “N/A” if not closest FHA layout. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| FHA | (115) Commode clearance #2 – 48”w x 56”d for side-only approach w/ overlapping lav. (max. 24” deep lav., vanity, or wing wall), (Fig 3). N/A if not closest FHA layout |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| FHA | (116) Bathroom maneuvering space min. 30” x 48” provided to position a wheelchair beyond swing of the door in at least one bathroom (see FHA note at top). |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Accessibility (Unit Interior) Comments And Observations |
|  | Item # |  | Actual Measurement |  | Unit # |  |  | Comment “N/A” answer require reason why not applicable |  |

| L. Overall Construction Quality |
| --- |
| Rate the Following: | Excellent | Good | Average | Fair | Poor |
| 117 | Overall Physical Appearance |  |  |  |  |  |
| 118 | Overall Construction Quality |  |  |  |  |  |

| Rating the Development |
| --- |
| Item | Extremes | Extraordinary Conditions *Ratings of Poor must be documented |
| 119 | Excellent | Design of all buildings on site is consistent. Exceptional architectural features and landscaping with effective uses of color and texture. All entries, vehicular and pedestrian, are controlled. The interior of units are spacious, allowing furnishings to be placed without impeding traffic through unit. The units offer many desirable amenities with special architectural features like crown molding or recessed lighting. Development presents an inviting appearance for potential tenants. |
| (Physical Appearance) | Poor | Development’s initial appeal is totally negative. Landscaping is haphazard or nonexistent. No security provided. Open entry to all vehicular and pedestrian traffic. No exterior recreation areas. The interior of the units are cramped. Kitchens and bathrooms are not large enough for easy use. No “extras” to make using the unit easier or desirable. Overall impression will alienate potential tenants. |
| 120 | Excellent | Development has roads/driveways with adequate drainage enhanced with curbs, gutters and storm sewers. Foundation has no visible defects. Fascias, eaves, and all trim around windows and doors is properly painted, completely intact and securely attached to the structure. Exterior stairs are in proper repair, with full railings present, and no paint deterioration. The interior of units are well constructed with no uneven flooring or loose fixtures. All features are in “as new” condition. |
| (Construction Quality) | Poor | Roads/driveways in Development lack adequate drainage. Foundation has major cracks in mortar joints of brick veneer or obvious severe cracks in floors that suggest foundation settling or cracking (¼” wide crack or ¼” shift in slab height should be noted for further investigation). Exterior trim of buildings is missing, warped or water damaged. Exterior stairs are potentially dangerous with the presence of weak or rotting wood, and/or badly rusted metal, and any poured concrete steps or balconies are cracked or uneven. The interior of units has many poorly fastened or damaged flooring transition strips. Walls have many cracks and interior stairs have poorly secured covering and poor or variable tread/riser ratios. There is an overall potential for safety concern. |

Additional Comments and Observations

|  |  | CMTS: |  |
| --- | --- | --- | --- |
| Development Name: |  | TDHCA: |  |

| Signature of Inspector: |  |  |  | Date: |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Signature of Inspection Contact: |  |  |  | Date: |  |  |

| Illustrations & Diagrams |
| --- |
| Figure 1 Maneuvering Space at Doors All common use facilities, 2010 ADA dwelling units, and exterior of entry for FHA dwelling units |
| Figure 2 Restroom Clear Floor Space 2010 ADA Dwelling Units &ADA Common Use Facilities Diagram on the left is acceptable clear floor space for common use facilities. Diagram on right is allowed ONLY IN RESIDENT UNITS and Depth Must be 66” | Figure 3 Restroom Clear Floor Space FHA Dwelling Units |

| Illustrations & Diagrams |
| --- |
|  | Figure 4 Clear Floor Space Stalls Common Use Facilities |
| Figure 5 Threshold at Primary Entry FHA Dwelling Units with Impervious Landing Concrete landing or other surface that could allow water to pool | Figure 6 Low Headroom at Stairs 2010 ADA and FHA Common Use Facilities |
| Figure 7 Lavatory Clear Floor Space Centered on Basin FHA Dwelling Units |

| Illustrations & Diagrams |
| --- |
| Figure 8 Protruding Objects 2010 ADA and FHA Common Use Facilities |
| Figure 9 Removable Base Cabinet Designs 2010 ADA and FHA Dwelling Units | Figure 10 Accessible Route Width Reduction 2010 ADA and FHA Dwelling Units |

| Illustrations & Diagrams |
| --- |
| Figure 11 Reinforced Areas for Installation of Grab Bars UFAS Mobility Units and Common Use Facilities | Figure 12 Side Reach Over Cab. FHA Dwelling Units |
| Fig. 13 G.B. Reinforcement in Sidewall w/ Commode in a Corner Fair Housing Covered Units | Fig. 14 Rear Wall/ Corner Commode Fair Housing Covered Units |
| Figure 15 Reinforcement for Folding G.B. FHA Unit w/ Commode Beside Short Wall | Figure 16 Reinforcement for Folding G.B. FHA Unit w/ Commode Not in Corner |

| Illustrations & Diagrams |
| --- |
| Figure 17 Spec. “A” Bathroom FHA Unit No Parallel Approach, No 19” Reach, No Toes in Line w/ Controls | Figure 18 Spec. “B” Bathroom FHA Unit Parallel Approach Possible (30” x 48”), Toes in Line, 19” Reach | Figure 19 Spec. “B” Bathroom FHA Unit Toes are in Line w/ Tub Controls, reach over sink is less than 19” |
| Figure 20 Knee, Leg, Toe Clearance 2010 ADA Mobility Units and Common Use Facilities | Figure 21 T-Turn Common Use Facilities | Figure 22 Side Reach Over an Object 2010 ADA Mobility Units and Common Use Facilities |

| Definitions & Consumer information |
| --- |
|  | Fair Housing Covered Units Generally, a covered unit is all of the following: A unit in a building built since March 1991 (most rehabs won’t have FHA covered units); A unit in a building of 4 or more connected units; A single-story unit that is on the ground level of a non-elevator building, or a single-story unit on an upper level if it is in an elevator building: The primary entry level of a multi-story unit if in an elevator building (multi-story covered units must include a kitchen and bath or powder room on the primary level) |  |  | Required Consumer Information Regarding Accessible Dwelling Units with Adaptable Building Elements In dwelling units designed to meet the technical specifications of the 2010 ADA Standards, property owners may provide certain building elements such as kitchen counters, sinks, and grab bars that are adaptable rather than fully accessible. This allows these features to be easily added or altered to accommodate the needs of either disabled or non-disabled persons, or to accommodate the needs of persons with different types of disability. To ensure that the existence of adaptable features will be known to the occupants, the following consumer information must be provided in each mobility unit available for occupancy: |  |
|  | Definitions Door Stop is the molding on the inside of door jamb that stops the door in its closed position. Full Length Sidewall is flat wall surface beside a commode that is at least 55½” from the corner behind the commode to the end of the mounting surface. This allows a wall-mounted 42” grab bar to be properly located with one end 12” from the corner and the center of the mounting flange at the other end to be 54” from the corner. Impervious refers to a surface that prevents water from soaking in, possibly allowing pooling and standing water on a landing or patio. Concrete landings and patios are considered impervious. Leading Edge is the part of a protruding object that projects furthest Passage Doors includes front and back doors and all interior doors between accessible spaces including walk-in closets, not including small closets and pantries. Pervious refers to a surface that allows water to drain through like a wood deck or steel grate. Removable cabinet is a base cabinet or cabinet front that is inserted in an opening under a counter, fastened only with screws and not permanently attached to the adjacent cabinets (see Fig. 9). Replaceable as an Independent Unit refers to a section of counter or counter and base cabinet that is structurally independent from adjacent counter(s). Short Sidewall refers to a wall beside a commode that does not have the grab bar mounting surface described above. For example, a side wall with a door located 54” from the corner to the edge of the door trim is considered a short wall because a 42” grab bar would have to be mounted on the door trim. Specification (Spec.) A and B refers to how a bathroom design affects access to the bathtub controls. A “B” bathroom provides greater access by allowing parallel approach w/ 30” x 48” clearance adjacent to tub, w/ wheelchair user’s toes to be in line with tub controls at the foot of the tub (see Fig. 16, 17, 18). Townhouse is a two-story unit with indoor stairs connecting to a second level. For Question #67 the inspector indicates “N/A” if there are no two-story units (see page one C. Development Information). In new developments with some two-story townhouses, a minimum of 20% of each unit type (divide each unit type total by 5) must be either a single-story FHA-covered unit, or have at least the primary entry level of the unit that provides: 1) an entry on an accessible route; 2) a kitchen; 3) bedroom; 4) bathroom or powder room; 5) and is FHA-compliant. The inspector determines the required number of each type, asks the development representative if they comply, and performs a random check as needed. U-Shaped Kitchen for a 2010 ADA unit and common-use facility has appliances, counters, and/or cabinets along three contiguous sides. U-shaped kitchen for an FHA unit is the same as a UFAS unit, but is not considered a U-shaped kitchen if there is not an appliance or sink at the base of the U. |  |